## Overlap
Equipment | Inventory number | Label | ObjectType | Manufacturer | Location | Leitzahl OrgDB | Serial Nr | Inventory Date | EECIS entry | Note
5101367 | 2636-02583 | Electrometer/High Resistance Meter | H05 | Keithley | ETZ | 09647 | 4442852 | 2019-09-23 | Electrometer / Keithley 6517B (Nr.1-2) | 6517B = Keithley electrometer/high resistance meter; 2 units in both
5101369 | 2636-02584 | Electrometer/High Resistance Meter | H05 | Keithley | ETZ | 09647 | 4429078 | 2019-09-23 | Electrometer / Keithley 6517B (Nr.1-2) | 6517B = Keithley electrometer/high resistance meter; 2 units in both
5101372 | 02636-02585 | Precision Source/Measure Unit Keysight B2912A | H05 | Keysight Technologies | ETZ | 09647 | MY51143245 | 2019-09-23 | Precision Source / Keysight B2912A/B (Nr.1-4) | B2912A; 4 units in both lists
5105432 | 2636-02615 | Precision Source/Measure Unit Keysight B2912B | H05 | Keysight Technologies | ETZ | 09647 | MY61390157 | 2021-09-16 | Precision Source / Keysight B2912A/B (Nr.1-4) | B2912B; 4 units in both lists
5105433 | 2636-02616 | Precision Source/Measure Unit Keysight B2912B | H05 | Keysight Technologies | ETZ | 09647 | MY61390158 | 2021-09-16 | Precision Source / Keysight B2912A/B (Nr.1-4) | B2912B; 4 units in both lists
5108222 | 2636-02706 | Precision Source/Measure Unit Keysight B2912B | H05 | Keysight Technologies | ETZ | 09647 | MY61390603 | 2022-12-07 | Precision Source / Keysight B2912A/B (Nr.1-4) | B2912B; 4 units in both lists

## Possible overlap
Equipment | Inventory number | Label | ObjectType | Manufacturer | Location | Leitzahl OrgDB | Serial Nr | Inventory Date | EECIS entry | Note
1709049 | 2631-01352 | Digitalspeicheroszilloskop | H03 | Teledyne Lecroy | ETZ | 09647 | LC5342241 | 1997-06-03 | LeCroy Oscilloscope (Nr.1) | Both unspecified LeCroy scopes; verify serial
5101610 | 2636-02591 | Precision Temperature Forcing System MPI TA-5000A | F08 | MPI Taiwan | ETZ | 09647 | TA5K11-1905104 | 2019-10-25 | Thermal Streamer / Thermal Air | Both thermal air-stream systems
5112768 |  | Wave Master | H03 | Teledyne LeCroy | ETZ | 09647 | LCRY5333N20050 | 2025-07-10 | Oscilloscope / LeCroy SDA 8330HD | SDA 8330HD is a WaveMaster-series scope; verify serial
5112879 |  | Fast Pulse Generator | H06 | Active Technologies SRL | ETZ | 09647 | T0302I25261301 | 2025-08-07 | Active Technologies AWG-5064 | Same vendor; AWG vs. pulse generator
5113303 |  | Linear Broad Band Amplifiers | H08 |  | ETZ | 09647 |  | 2025-10-23 | Pure Power RF Power Amplifier 1040L | Category overlap only

## No overlap
Equipment | Inventory number | Label | ObjectType | Manufacturer | Location | Leitzahl OrgDB | Serial Nr | Inventory Date
1682683 | 2634-03721 | Süss Mikroskop Mitutoyo Fs-60fc, | B18 | Süss Microtec | ETZ | 09647 | 610117 | 1997-02-14
4781445 | 4519 | Semiconductor Parameter Analyzer | H05 | Agilent Technologies | ETZ | 09647 | JP51420142 | 2011-12-23
5101602 | 2636-02589 | DC Power Analyzer N6705C | B23.06 | Keysight Technologies | ETZ | 09647 | MY56003733 | 2019-10-24
5102758 | 2636-02603 | DALCO r2264a8t 2U Quad Compute Server | L04.02 | DALCO AG, 8832 Wilen | ETZ | 09647 | N-20.05.121 | 2020-05-18
5102759 | 2636-02604 | DALCO r2264a8t 2U Quad Compute Server | L04.02 | DALCO AG, 8832 Wilen | ETZ | 09647 | N-20.05.122 | 2020-05-18
5102760 | 2636-02605 | DALCO r2264a8t 2U Quad Compute Server | L04.02 | DALCO AG, 8832 Wilen | ETZ | 09647 | N-20.05.123 | 2020-05-18
5102761 | 2636-02606 | DALCO r2264a8t 2U Quad Compute Server | L04.02 | DALCO AG, 8832 Wilen | ETZ | 09647 | N-20.05.124 | 2020-05-18
5110478 | 2636-02741 | DALCO r2264a9t 2U Quad Compute Server | L04.02 | DALCO AG, 8832 Wilen | ETZ | 09647 | 24.03.101 | 2024-02-15
5112531 | 2636-02773 | Software Upgrade for Signal Source Analyzer Keysight E5058A | H05 | Keysight Technologies, USA | ETZ | 09647 |  | 2025-05-05
5112668 |  | DALCO r1464a10 4U Rackmount Server | L04.02 | DALCO AG, 8832 Wilen | HCI | 09647 | S-25.07.101 | 2025-06-12
5112669 |  | NVIDIA GH200 Compute Server | L04.02 | NVIDIA Corp.,Santa Clara, USA | LEE | 09647 | A924691X5803277 | 2025-06-12
5113599 |  | Druckregler Druck PACE 5000E | B08 |  | ETZ | 09647 | 13600528 | 2025-12-09
5113775 |  | Digitalmikroskop Keyence VHX-X1 | B18 | Keyence | ETZ | 09647 |  | 2026-01-21